## Summary
The summary of proposals and comments on the Public Consultation on the Amendments to the Common Regulations for the Natural Gas Balancing of Transmission System
Nr. | Network user's (NU's) comment or proposal | The opinion of TSOs regarding the comments or proposals
1. | Changes to the marginal buy price and the marginal sell price incentive factors Although we understand your concern about the increased imbalance gas amount in the common balancing zone, we do not share the view that the current alleged non-compliant price of balancing gas is the main reason for this increase. Increasing of the incentive factor ranges will not have the desired effect. In our view, the problem is the insufficient availability of actual consumption data, which leads to inaccuracies in nominations and thus increases imbalances. In our opinion, one solution would be to restore the previous day's trading at Get Baltic. In this way, market participants and transmission system operators can trade gas in the Common zone depending on whether they have short or long position resulting reduction of imbalance in their portfolio. The flow of information and the availability of current consumption data during the gas day are important. | comment will be taken into account Marginal buy price and marginal sell price incentive factor ranges will not be changed. Provision of consumption data is the responsibility of distribution system operator (hereinafter - the DSO). Transmission system operators (hereinafter - the TSOs) will approach DSOs to try to improve the data provision process. Previous day's trading is not in accordance with Commission Regulation (EU) No 312/2014 of 26 March 2014 establishing a Network Code on Gas Balancing of Transmission Networks (hereinafter - the BAL NC). Re-introducing it would also not change the overall imbalance of the area, only specific NUs' portfolio imbalances. Furthermore, it could incentivise NU's to be in imbalance and trade the excess on the next day.
2. | Imbalance price publication It is important for market participants that the earlier the balancing gas prices are made public, the better. The Finnish transmission system operator can do this during the current gas day, it is certainly achievable for the transmission system operators in the EE-LV region, or at least something to strive for. | comment is partially taken into account Sub-paragraph 8.11 shall be modified and expressed as follows: “8.11 The TSO shall publish on its website the marginal sell price and the marginal buy price of gas day D no later than the end of gas day D+1. If the gas day D+1 falls within non-business day, the marginal sell price and the marginal buy price of gas day D shall be published the next business day.”
3. | Deadlines for the reports The 10th calendar day is already very late with the receipt of settlements, we would prefer it even earlier, because the time lag causes differences in accounting and in settlements with other parties. | comment is not taken into account As it was mentioned in the consultation document, establishment of Estonian – Latvian common balancing zone has introduced changes and additional components in the process of coordinating, processing and confirming allocations. The current operational experience of TSOs indicate that 10th calendar day is already a challenging deadline for determination of neutrality charge, provisional monthly imbalance settlement and final monthly imbalance settlement, because: a) Estonian consumption data is received only on the 8th calendar day. If this day falls on a Friday or week-end, it is not possible to provide the reports before the 11th or 12th calendar day. b) Frequently there are also delays in 3rd country entry-exit points' final allocation confirmations. To resolve this and to be able to provide the reports earlier, Estonian TSO has proposed to move the EE domestic entry-exit measurement data submission deadline to 5th calendar day and the TSOs of Estonian – Latvian common balancing zone are working on achieving an agreement on 3rd country borders to confirm the allocations earlier. Nevertheless, TSOs are already striving to provide the reports as soon as possible and will continue to do so.
4. | TSO neutrality principle – recovery of losses The calculation of neutrality charges requires more detailed overview. Proposed methodology needs further clarification. | comment is not taken into account The current methodology description in the balancing rules already covers all the costs and revenues taken into account when calculating the neutrality charge (sub-paragraph 8.15) and explains how the calculation is done (sub-paragraph 8.16). Additionally, specifying TSO costs arising from network user non-payment default is falling under other scope of costs foreseen in Article 31(3) and, in particular, Article 29(1) and Article 29(2) of the BAL NC.
Other comments and proposals
5. | 1. In the justification part of the Document the TSOs indicate that the imbalance situation has been analyzed for the first year. In LG’s opinion one year of operation is too short period to draw conclusions on new market (Commong Balancing Zone) operations and assessment should be made for a longer period of operations. | -
6. | 2. In the justification part of the Document the TSOs indicate that the imbalance has been 111 GWh in a particular month. In order to be able to assess the reasons behind this it would be necessary to understand which month that was and what were the reasons behind it – lack of transmission capacities at entry/exit points, lack of injection/withdrawal capacities from IUGS etc. It could be as well that such imbalance has been due to technical reasons and not due to “lack of motivation” of the balancing prices for system users. | -
7. | 3. The entry flows of the Common Balancing Zone in 2020 were about 26 TWh, the imbalance was 330 GWh, which is ~1% of the total flows. Is there any industry benchmark etc. by which total annual system imbalance of 1% is considered inappropriate? We would appreciate if TSOs could share some reliable industry benchmarks. | Marginal buy price and marginal sell price incentive factor ranges will not be changed. As a benchmark the indicator BAL.2.1 "TSO BALANCING VOLUME AS % OF MARKET VOLUME" from BAL NC monitoring report could be used. URL: https://www.entsog.eu/sites/default/files/2020-06/BAL%20NC%20Implementation%20and%20Effect%20Monitoring%20Report%202019.pdf (Page 84)
8. | 4. In the Document TSOs inform that the changes in the balancing prices would help the market participants save costs on neutrality fee. Are there any scenario analysis performed on what those cost savings would be? | Marginal buy price and marginal sell price incentive factor ranges will not be changed. Cost reduction amount depends on various factors (imbalance amount, market price etc). In case if all TSO balancing related costs are covered by balancing charges, there is no need for the application of additional neutrality charge. All excess income is distributed to network users via neutrality.
9. | 5. The proposed changes in the incentive factor levels involve high cost risks for the system users. For example, at the current price levels, if TSOs would purchase the balancing gas at 35 EUR/MWh (market price), the 1.2 factor would mean that they would sell at 42 EUR/MWh, which is 7 EUR/MWh difference (cost increase) for a system user. Is there any industry benchmark for the factors? Have the TSOs considered instead of factors to introduce fixed EUR/MWh as an add-on to the balancing gas price? | Marginal buy price and marginal sell price incentive factor ranges will not be changed. The application of incentive factor mechanism primarily stems from the Article 22 of the BAL NC, which does not suggest fixed add-ons. Fixed add-ons are currently applied in very few European countries, whereas the TSOs of Estonian – Latvian common balancing zone currently do not consider introducing such approach.